- 3130 Genetic Analyzer (3130 XL)

- Instrument Details:

- Make: Applied Biosystems

- Model: 3130 XL

- Specification:

| Analysis Software: | GeneMapper® Software |
| --- | --- |
| Capillary Length: | 80cm |
| Compatible Polymers: | POP-7 |
| Chemistry: | BigDye®Terminator V. 3.1 |
| Format: | 96-well plate |
| Number of Capillaries: | 16 Capillaries |
| Operating Environment: | Humidity: 20%-80%, Temperature: 15°C-30°C |
| Operating System: | Microsoft Windows 7 |
| Performance: | 98.5% basecalling accuracy |

- Contact us:	0547 2530358

- e. mail: nbaimicar@gmail.com, aloksrivastva@gmail.com

- Charges:

| - S.No. | - Description | - Rates for Academic Research Purpose | - Rates of Industry |
| --- | --- | --- | --- |
| - 1. | - Partial sequencing of purified PCR products | - INR 1500.00 per sample | - INR 5000.00 per sample |