Scanning Electron Microscope (SEM)

Instrument details

| Model | : | Hitachi S-3400N |
| --- | --- | --- |
| SEI Resolution | : | 3.0nm (30kV, in high vacuum) 10nm (3kV, in high vacuum) |
| BSEI Resolution | : | 4.0nm (3kV, in low vacuum) |
| Magnification | : | 5x to 300,000x |
| Accelerating Voltage | : | 300V to 30kV |
| Working Principle SEM is a microscope which uses an electron beam to produce the surface image of the object with high magnification obtained by electromagnetic fields. The Hitachi 3400N VP-SEM is a Scanning Electron Microscope with tungsten filament allowing accelerating voltages up to 30kV. It is equipped with both Secondary (SE) and Backscatter (BSE) Electron Detectors and has a fully eccentric 5 axis motorized stage that allows samples up to 5cm in diameter. The Variable Pressure mode allows BSE observation from 6- 270Pa. |  |  |

Contact Us

Senior Technical Assistant:

Contact: 0547-2530080

Email: manish.roy@icar.gov.in, manish.nbaim@gmail.com

In-charge, NAIMCC

Contact: 0547-2530156

Email: sks_micro@rediffmail.com;

Director

Contact: 0547-2530080

Email: director.nbaim@icar.gov.in; saxena461@yahoo.com;

Instructions

- A requisition letter should be addressed to The Director, ICAR-NBAIM along with DD of required amount should be sent by post or submitted in person to ICAR-NBAIM office, Post Bag No. 6, Kushmaur, Mau – 275 103. After the receipt of requisition letter along with DD in ICAR-NBAIM office your samples will be scheduled for process as per the queue.

- The users are requested to communicate to the contact person of the instruments before floating requisition and sending samples for analysis.

- If you are not supposed to be present at the time of appointment please mention as much details as possible like

  - Expected features you are looking for. (If available send a representative pictures/related paper etc. also)

  - Up to what magnification images you want.

  - About nature of your sample like whether it is conducting OR non-conducting.

  - If it needs to be dispersed in any solvent (for powdered sample). (If required attach a separate sheet.)

- Once your Requisition letter along with DD will be received in ICAR-NBAIM, then only you can be given an idea of tentative date of appointment.

- The users will be informed about their date & time of slot by e-mail.

- The samples should be dry and should withstand high vacuum (~ 10 -5 Pa). Wet biological sample can’t be done.

- The sample size should be less than 12.5 mm x 12.5 mm x 10 mm (height) and the side opposite, the side of interest, should be flat (to enable sample mounting). The smaller the sample height the better the result.

- The user is welcome to be present in the laboratory during analysis.

Charges

| SEM Services |  | Category I [Educational/Govt. Research Institute/University under Govt., non-profit organization, etc. (INR)] | Category II [Private institute/Others (INR)] |
| --- | --- | --- | --- |
| Surface characterization by Scanning Electron Microscope | High Vacuum Mode |  |  |
|  | Sample preparation & SEM Viewing | ₹1500.00 (Per Sample) | ₹8000.00 (Per Sample) |
|  | Sample preparation, SEM Viewing & EDX | ₹3000.00 (Per Sample) | ₹9000.00 (Per Sample) |
|  | Low Vacuum Mode |  |  |
|  | SEM Viewing Time per hr. (including specimen preparation, if required) | ₹2500.00 (Per Sample) | ₹9000.00 (Per Sample) |
|  | Biological Sample Preparation (Fixation, dehydration, critical point drying and coating): | ₹1000.00 (Per Sample) | ₹1000.00 (Per Sample) |
| Important Note - Biological samples will be accepted only. - Ten images per sample would be provided. Hereafter, ₹ 50/- would be charged extra per image. - The thickness of samples may be upto 1cm3. - Fixation may be done in 2.5 % Glutaraldehyde and 2% paraformaldehyde made in 0.1 M sodium phosphate buffer (pH 7.2). The fixed sample should be brought at ICAR-NBAIM in fixative or in phosphate buffer at 4°C preferably between 10 am to 5 pm (Working days). - Only 5 samples per requisition form will be accepted. - Dispatch charges: If CD to be posted, ₹100/- as postage (Speed Post) charges will be extra |  |  |  |

|  | jk"Vªh; d`f"k mi;ksxh lw{etho C;wjks NATIONAL BUREAU OF AGRICULTURALLY IMPORTANT MICROORGANISMS Hkkjrh; d`f"k vuqla/kku ifj"kn~ (Indian Council of Agricultural Research) # dqlekSj] eÅ ukFk Hkatu] mRrj izns’k&275101 # Kusmaur, Mau Nath Bhanjan, Uttar Pradesh- 275101 Tel ¼nwjHkk"k½: (0547) 2530080, FAX ¼QSDl½: (0547) 2530381, E-Mail ¼bZ&esy½: nbaimicar@gmail.com, (Web): www.nbaim.org |  |
| --- | --- | --- |

Requisition form for utilization of ICAR-NBAIM SEM facility

| Requisition for (Please tick) |  |  | Requisition No.__________________________________ (To be filled by ICAR-NBAIM) |  |  |
| --- | --- | --- | --- | --- | --- |
| SEM ( ) |  | SEM & EDX ( ) |  |  |  |
|  | Name, Designation & Address of Investigator with telephone number |  | ____________________________________________ ____________________________________________ |  |  |
|  | Name & designation of user with telephone number |  | ____________________________________________ ____________________________________________ |  |  |
|  | Category I [Educational/Govt. Research Institute/University under Govt., non-profit organization, etc.] |  |  |  | (Please tick) ( ) |
|  | Category II [Private institute/Others] |  |  |  | (Please tick) ( ) |
|  | Name of the specimen/tissue |  | ______________________________________________ (Microorganisms & others related) |  |  |
|  | Name of the fixative used |  | __________________________________________ Duration ______________________________(Minutes/Hrs.) |  |  |
|  | Number of specimen to be processed |  | ______________________ Orientation ______________________ |  |  |
|  | Purpose of utilizing ICAR-NBAIM SEM facility |  | __________________________________________ __________________________________________ |  |  |
|  | Name of the project or title of the proposed thesis/dissertation work and date of completion |  | __________________________________________ __________________________________________ |  |  |
|  | UNDERTAKING: Please give details of previous publications, if any, emerging out of the work carried out at the ICAR-NBAIM SEM facility by your group. The investigator is requested to certify that he/she acknowledge ICAR-NBAIM for utilization of this facility in the publication emanated in due course of time. |  | __________________________________________ __________________________________________ __________________________________________ __________________________________________ __________________________________________ |  |  |
| Signature of Officer-in-Charge ICAR-NBAIM SEM Facility |  |  |  | Signature of Indenter |  |
|  |  |  |  | Date ………………………….. |  |

Note:

Fixation is to be done in 2.5% Glutaraldehyde and 2% paraformaldehyde, made in 0.1M sodium phosphate buffer (pH 7.4) for about 12 hrs. at 4ᵒC. The fixed specimen should be transported in phosphate buffer.